## Unknowns
Table 1. Ar/Ar Data Tables for samples dated as part of this study
Ar/Ar analytical data.
| Sample: | Eagle Rock Dike |  |  | Identifier: | 65965
| Material: | Hornblende
[15 empty] | Corrected1 | [9 empty] | Intercepts2 | [9 empty] | Blanks
| N | Tag | Power | Age | ±1σ | K/Ca | ±1σ | Cum. %39Ar | %40Ar | 40Ar*/39ArK | K2O | Sensitivity | 39Ar/40Ar | 36Ar/40Ar | 40Ar | ±1σ | 39Ar | ±1σ | 38Ar | ±1σ | 37Ar | ±1σ | 36Ar | ±1σ | 40Ar | ±1σ | 39Ar | ±1σ | 38Ar | ±1σ | 37Ar | ±1σ | 36Ar | ±1σ | 40Ar | ±1σ | 39Ar | ±1σ | 38Ar | ±1σ | 37Ar | ±1σ | 36Ar | ±1σ | Disc | ±1σ | ICL2(CDD) | ±1σ | ICH2 | ±1σ | ICH1 | ±1σ | ICAX | ±1σ | ICL1 | ±1σ | RunDate | Δt3 | J | ±1σ | 39Ar Decay | 37Ar Decay | LambdaK | MonitorAge | MonitorName | MonitorMaterial | (40Ar/3939)K | ±1σ | (38Ar/3939)K | ±1σ | (37Ar/3939)K | ±1σ | (39Ar/3737)Ca | ±1σ | (38Ar/3737)Ca | ±1σ | (36Ar/3737)Ca | ±1σ | (36Ar/3838)Cl | ±1σ | Ca/K | ±1σ | Cl/K | ±1σ
|  |  | W | (Ma) | (Ma) |  |  | (%) | (%) |  | (wt. %) | mol/fA |  |  | (fA) |  | (fA) |  | (fA) |  | (fA) |  | (fA) |  | (fA) |  | (fA) |  | (fA) |  | (fA) |  | (fA) |  | (fA) |  | (fA) |  | (fA) |  | (fA) |  | (fA) | [14 empty] | (days)
X | 01A | outlier | 0.8 | 26.7362 | 5.2647 | 0.17763 | 0.021675 | 0.25851 | 3.7697 | 7.7763 | 0.0022822 | 4e-16 | 0.0048479 | 0.0032565 | 57.4408 | 0.031561 | 0.27898 | 0.028488 | 0.044278 | 0.0064019 | 0.34056 | 0.022585 | 0.18728 | 0.0011988 | 57.6628 | 0.025807 | 0.28674 | 0.025788 | -0.022644 | 0.0047659 | 0.13582 | 0.012003 | 0.18702 | 0.001172 | 0.24908 | 0.018169 | 0.038578 | 0.012228 | 0.0045158 | 0.0042743 | -0.020661 | 0.019131 | 0.0016746 | 0.00016272 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 07:59 | 43.0629 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.3485 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
pX | 01B | ok | 1.3 | 29.6323 | 3.3327 | 0.20507 | 0.017336 | 0.64196 | 6.8652 | 8.6255 | 0.0033852 | 4e-16 | 0.0079598 | 0.0031518 | 51.8939 | 0.028091 | 0.41369 | 0.028141 | 0.035337 | 0.0060936 | 0.43749 | 0.02184 | 0.16384 | 0.0010517 | 52.1134 | 0.022115 | 0.43518 | 0.025667 | -0.031117 | 0.0045343 | 0.21174 | 0.011997 | 0.16388 | 0.0010264 | 0.25403 | 0.017322 | 0.037429 | 0.01166 | 0.0045723 | 0.0040708 | -0.020511 | 0.01825 | 0.0017263 | 0.00015519 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 08:12 | 43.072 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.3489 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
X | 01C | outlier | 1.6 | 37.3344 | 2.9351 | 0.16454 | 0.012077 | 1.0466 | 17.5779 | 10.8904 | 0.0035722 | 4e-16 | 0.016143 | 0.0027892 | 27.0035 | 0.027578 | 0.43675 | 0.027769 | 0.022135 | 0.0057935 | 0.57527 | 0.020896 | 0.075693 | 0.00074338 | 27.24 | 0.022073 | 0.44872 | 0.025494 | -0.048152 | 0.0043045 | 0.3522 | 0.011509 | 0.076691 | 0.00071977 | 0.25903 | 0.016533 | 0.036268 | 0.011135 | 0.0046293 | 0.0038776 | -0.020359 | 0.017441 | 0.0017786 | 0.00014821 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 08:25 | 43.0811 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.3494 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
pX | 01D | ok | 2.2 | 27.4504 | 1.2403 | 0.10434 | 0.0030228 | 1.9483 | 15.2763 | 7.9856 | 0.0079603 | 4e-16 | 0.019133 | 0.002867 | 50.7716 | 0.027645 | 0.97455 | 0.026365 | 0.036291 | 0.0057356 | 2.021 | 0.020339 | 0.1469 | 0.00092137 | 51.01 | 0.022865 | 0.95927 | 0.024245 | -0.029195 | 0.0044441 | 1.825 | 0.011971 | 0.14724 | 0.00089855 | 0.26623 | 0.015539 | 0.034596 | 0.010478 | 0.0047115 | 0.003626 | -0.02014 | 0.016443 | 0.0018538 | 0.00013952 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 08:44 | 43.0943 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.35 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
pX | 01E | ok | 3 | 28.9192 | 1.2061 | 0.091812 | 0.0021487 | 2.9776 | 14.5795 | 8.4163 | 0.0090868 | 4e-16 | 0.017326 | 0.0028906 | 64.0019 | 0.028379 | 1.113 | 0.024554 | 0.057816 | 0.0056706 | 2.6212 | 0.019697 | 0.18674 | 0.001079 | 64.2284 | 0.024181 | 1.1182 | 0.022459 | -0.0071849 | 0.0045056 | 2.4135 | 0.011787 | 0.18673 | 0.0010559 | 0.27228 | 0.014854 | 0.033191 | 0.010031 | 0.0047805 | 0.0034432 | -0.019957 | 0.015781 | 0.001917 | 0.00013364 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 09:00 | 43.1054 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.3505 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
pX | 01F | ok | 4 | 24.6631 | 0.31731 | 0.093056 | 0.00069932 | 6.4513 | 41.499 | 7.1693 | 0.030667 | 4e-16 | 0.057914 | 0.001979 | 64.6415 | 0.027643 | 3.7561 | 0.026818 | 0.28013 | 0.0055163 | 8.7261 | 0.019575 | 0.13374 | 0.00094976 | 64.8889 | 0.023638 | 3.7766 | 0.025047 | 0.2141 | 0.0044265 | 8.5107 | 0.012205 | 0.13434 | 0.00092896 | 0.2783 | 0.01433 | 0.031792 | 0.0096969 | 0.0048492 | 0.0032918 | -0.019774 | 0.015304 | 0.0019799 | 0.00012927 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 09:16 | 43.1165 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.351 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01G | ok | 5 | 23.638 | 0.093767 | 0.078733 | 0.00021859 | 15.788 | 84.774 | 6.8693 | 0.082427 | 4e-16 | 0.12354 | 0.00051217 | 81.4937 | 0.030445 | 10.1034 | 0.026956 | 0.68021 | 0.0053389 | 27.7159 | 0.019844 | 0.060369 | 0.00067846 | 81.7015 | 0.027022 | 10.1008 | 0.025212 | 0.61201 | 0.00428 | 27.5112 | 0.012924 | 0.06178 | 0.00065877 | 0.28335 | 0.014025 | 0.030619 | 0.00951 | 0.0049069 | 0.0031916 | -0.01962 | 0.015058 | 0.0020327 | 0.00012687 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 09:29 | 43.1257 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.3514 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01H | ok | 5.5 | 23.5022 | 0.07671 | 0.076777 | 0.00018292 | 26.2384 | 89.0614 | 6.8296 | 0.092258 | 4e-16 | 0.13055 | 0.00036674 | 86.321 | 0.027371 | 11.3098 | 0.025862 | 0.6666 | 0.0052564 | 31.8057 | 0.019815 | 0.05305 | 0.00059893 | 86.5497 | 0.023609 | 11.2991 | 0.024056 | 0.60117 | 0.004233 | 31.5841 | 0.012996 | 0.05459 | 0.00057875 | 0.28857 | 0.013848 | 0.029406 | 0.0094122 | 0.0049665 | 0.0031163 | -0.019462 | 0.014958 | 0.0020873 | 0.00012566 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 09:43 | 43.1353 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.3519 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01I | ok | 7 | 23.5634 | 0.047713 | 0.076465 | 9.9936e-05 | 47.718 | 89.4944 | 6.8475 | 0.18963 | 4e-16 | 0.13085 | 0.00035206 | 177.0279 | 0.034078 | 23.2467 | 0.029273 | 1.5631 | 0.0054981 | 65.6258 | 0.02108 | 0.10649 | 0.00083713 | 177.2682 | 0.031147 | 23.2694 | 0.027465 | 1.4992 | 0.004563 | 65.4174 | 0.014761 | 0.10754 | 0.00081737 | 0.29477 | 0.013827 | 0.027966 | 0.009426 | 0.0050372 | 0.0030672 | -0.019274 | 0.015049 | 0.0021521 | 0.00012596 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 09:59 | 43.1467 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.3524 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01J | ok | 7.5 | 23.677 | 0.055613 | 0.075418 | 0.00011149 | 64.7472 | 88.2662 | 6.8807 | 0.15034 | 4e-16 | 0.12842 | 0.00039373 | 142.993 | 0.032526 | 18.4316 | 0.026135 | 1.2797 | 0.0055337 | 52.7412 | 0.020444 | 0.091798 | 0.00078883 | 143.2164 | 0.029373 | 18.4468 | 0.024163 | 1.2161 | 0.0046099 | 52.5286 | 0.013564 | 0.093058 | 0.000769 | 0.29998 | 0.01397 | 0.026756 | 0.0095461 | 0.0050967 | 0.0030612 | -0.019115 | 0.015297 | 0.0022065 | 0.00012767 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 10:13 | 43.1562 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.3528 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01K | ok | 8 | 23.6322 | 0.088056 | 0.080164 | 0.00020799 | 74.0131 | 86.049 | 6.8677 | 0.081801 | 4e-16 | 0.12543 | 0.00046892 | 79.6575 | 0.028802 | 10.0259 | 0.02477 | 0.70113 | 0.0051532 | 26.9931 | 0.020217 | 0.055518 | 0.00063985 | 79.8782 | 0.025032 | 10.0252 | 0.022748 | 0.63121 | 0.0041263 | 26.7825 | 0.012754 | 0.057206 | 0.0006191 | 0.3051 | 0.014247 | 0.025567 | 0.0097572 | 0.0051551 | 0.0030869 | -0.01896 | 0.015687 | 0.00226 | 0.00013058 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 10:26 | 43.1656 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.3533 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01L | ok | 8.5 | 23.6898 | 0.11358 | 0.069126 | 0.00027249 | 81.7051 | 94.1398 | 6.8845 | 0.067906 | 4e-16 | 0.13691 | 0.00019451 | 60.5916 | 0.031006 | 8.3292 | 0.031938 | 0.63345 | 0.0056474 | 25.9812 | 0.021115 | 0.029297 | 0.00054728 | 60.8393 | 0.027321 | 8.3252 | 0.030338 | 0.56654 | 0.0046912 | 25.758 | 0.01352 | 0.031309 | 0.00052444 | 0.31029 | 0.01466 | 0.024361 | 0.010059 | 0.0052144 | 0.0031442 | -0.018802 | 0.016219 | 0.0023143 | 0.00013471 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 10:40 | 43.1751 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.3537 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
pX | 01M | ok | 15 | 23.76 | 0.051599 | 0.071666 | 0.00010372 | 100 | 93.5274 | 6.905 | 0.16151 | 4e-16 | 0.13561 | 0.00021529 | 145.4909 | 0.03164 | 19.8067 | 0.027524 | 1.3326 | 0.0055614 | 59.5947 | 0.022179 | 0.071483 | 0.00076028 | 145.7306 | 0.027768 | 19.8497 | 0.025288 | 1.269 | 0.0045299 | 59.3812 | 0.014433 | 0.073111 | 0.00073863 | 0.31523 | 0.015166 | 0.023215 | 0.010422 | 0.0052707 | 0.0032263 | -0.018652 | 0.016841 | 0.0023659 | 0.00013964 | 1 | 0 | 1.0104 | 0.00047459 | 1 | 0 | 0.99819 | 0.00017587 | 1 | 0 | 1 | 0 | 2018-02-02 10:53 | 43.1842 | 0.0018924 | 2.4179e-07 | 1.0003 | 2.3541 | 5.464e-10 | 28.201 | FC-2 | sanidine | 0.00873 | 0.00017 | 0.013 | 0 | 0 | 0 | 0.000758 | 7e-06 | 4e-05 | 2e-05 | 0.000286 | 5e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01 | plateau | n=6/13 steps=G-L | 23.6061 | 0.028264 | 0.076147 | 6.5666e-05 | 75.2538 | MSWD=1.001
Integrated K/Ca ±1σ | [5 empty] | 0.076147 | 6.5666e-05 | SD
Plateau Age ±2σ |  |  |  | 23.6061 | 0.056529 | n=6/13 | MSWD=1.001 | steps G-L
Total Integrated Age ±2σ |  |  |  | 23.793 | 0.10586 | [5 empty] | K2O wt. %=0.883
Isochron Age ±2σ |  |  |  | 23.577 | 0.056 |  | MSWD=2.007 | (40Ar/36Ar)trapped=302.87±1.02
| Sample: | Little Eagle Rock Dike |  |  | Identifier: | 66419
| Material: | Hornblende
pX | 01A | ok | 1 | 24.5637 | 1.0688 | 0.44158 | 0.013826 | 1.0211 | 14.1796 | 6.9306 | 0.013566 | 4e-16 | 0.020463 | 0.0029042 | 82.7447 | 0.04333 | 1.6937 | 0.018263 | 0.088484 | 0.0069322 | 0.65328 | 0.019181 | 0.24081 | 0.001629 | 83.062 | 0.033755 | 1.6613 | 0.013625 | 0.016929 | 0.0054337 | 0.51419 | 0.0138 | 0.23394 | 0.0014034 | 0.94357 | 0.027168 | 0.023526 | 0.011998 | 0.0062395 | 0.0043048 | 0.011573 | 0.013323 | 0.0039439 | 0.00063971 | 1 | 0 | 1.047 | 0.00092944 | 1 | 0 | 1.0055 | 0.00031987 | 1 | 0 | 1 | 0 | 2018-08-23 14:59 | 55.3665 | 0.0019493 | 3.8857e-07 | 1.0004 | 2.9945 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
X | 01B | outlier | 1.6 | 27.1055 | 0.80091 | 0.20738 | 0.0033265 | 2.1003 | 31.8141 | 7.6531 | 0.014338 | 4e-16 | 0.041583 | 0.0023072 | 43.0419 | 0.040856 | 1.7919 | 0.016355 | 0.034769 | 0.006446 | 1.4698 | 0.019333 | 0.10049 | 0.0012943 | 43.3502 | 0.032085 | 1.7504 | 0.011803 | -0.031327 | 0.0050416 | 1.2717 | 0.014822 | 0.099831 | 0.0010788 | 0.93784 | 0.025293 | 0.022097 | 0.011172 | 0.0069136 | 0.0040167 | 0.0090453 | 0.012412 | 0.0038674 | 0.00059701 | 1 | 0 | 1.0472 | 0.00092675 | 1 | 0 | 1.0057 | 0.00031399 | 1 | 0 | 1 | 0 | 2018-08-23 15:12 | 55.3756 | 0.0019493 | 3.8857e-07 | 1.0004 | 2.995 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
X | 01C | outlier | 2.2 | 24.9652 | 0.46014 | 0.68301 | 0.019504 | 3.7098 | 60.3223 | 7.0446 | 0.021382 | 4e-16 | 0.085682 | 0.0013415 | 31.1623 | 0.038491 | 2.6689 | 0.016296 | 0.040672 | 0.0062138 | 0.66553 | 0.018551 | 0.04233 | 0.0011045 | 31.4161 | 0.030383 | 2.6312 | 0.012358 | -0.036111 | 0.0049397 | 0.50265 | 0.014466 | 0.044205 | 0.00089249 | 0.93211 | 0.02363 | 0.020669 | 0.010442 | 0.0075869 | 0.0037697 | 0.0065208 | 0.011614 | 0.003791 | 0.00056051 | 1 | 0 | 1.0474 | 0.00093514 | 1 | 0 | 1.0059 | 0.00031189 | 1 | 0 | 1 | 0 | 2018-08-23 15:25 | 55.3846 | 0.0019493 | 3.8857e-07 | 1.0004 | 2.9956 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
X | 01D | outlier | 3 | 22.2149 | 0.13389 | 0.18577 | 0.00058598 | 9.3641 | 80.7949 | 6.2638 | 0.075119 | 4e-16 | 0.12911 | 0.00064738 | 72.6767 | 0.04112 | 9.3902 | 0.019029 | 0.46862 | 0.0066328 | 8.5651 | 0.020629 | 0.054172 | 0.0011233 | 72.7961 | 0.030249 | 9.339 | 0.014261 | 0.35926 | 0.0044235 | 8.317 | 0.015505 | 0.055853 | 0.00085851 | 0.83337 | 0.027854 | 0.044132 | 0.011658 | 0.0044275 | 0.0049424 | 0.0087015 | 0.013606 | 0.0042437 | 0.00063725 | 1 | 0 | 1.0497 | 0.00092772 | 1 | 0 | 1.0082 | 0.00044552 | 1 | 0 | 1 | 0 | 2018-08-23 19:41 | 55.5628 | 0.0019493 | 3.8857e-07 | 1.0004 | 3.0061 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
pX | 01E | ok | 4 | 21.503 | 0.046086 | 0.12545 | 0.00011944 | 26.6541 | 93.9018 | 6.0619 | 0.2297 | 4e-16 | 0.15508 | 0.00020282 | 185.0534 | 0.048069 | 28.7427 | 0.022923 | 1.7014 | 0.0071756 | 38.7769 | 0.019918 | 0.069924 | 0.0011574 | 185.2156 | 0.0403 | 28.5549 | 0.015975 | 1.6067 | 0.0054641 | 38.547 | 0.015244 | 0.070809 | 0.00092289 | 0.83661 | 0.026201 | 0.043487 | 0.010995 | 0.0044477 | 0.004651 | 0.0076927 | 0.012821 | 0.0041942 | 0.00060055 | 1 | 0 | 1.0497 | 0.00092111 | 1 | 0 | 1.0083 | 0.00041967 | 1 | 0 | 1 | 0 | 2018-08-23 19:54 | 55.5718 | 0.0019493 | 3.8857e-07 | 1.0004 | 3.0067 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01F | ok | 5 | 21.3948 | 0.037072 | 0.11427 | 9.1544e-05 | 47.466 | 97.2506 | 6.0313 | 0.27649 | 4e-16 | 0.16143 | 8.9215e-05 | 213.989 | 0.049155 | 34.6079 | 0.023552 | 1.9027 | 0.0064274 | 51.2319 | 0.021312 | 0.061902 | 0.0011047 | 214.1424 | 0.042518 | 34.3823 | 0.015978 | 1.8083 | 0.0047017 | 50.9613 | 0.017537 | 0.063116 | 0.00088465 | 0.83985 | 0.024668 | 0.042842 | 0.010404 | 0.0044678 | 0.0043824 | 0.0066839 | 0.01211 | 0.0041446 | 0.00056747 | 1 | 0 | 1.0497 | 0.00095294 | 1 | 0 | 1.0084 | 0.00039636 | 1 | 0 | 1 | 0 | 2018-08-23 20:07 | 55.5809 | 0.0019493 | 3.8857e-07 | 1.0004 | 3.0072 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01G | ok | 5.5 | 21.3207 | 0.043214 | 0.11159 | 9.7381e-05 | 65.2307 | 97.4804 | 6.0102 | 0.23601 | 4e-16 | 0.16238 | 8.1405e-05 | 181.5915 | 0.046015 | 29.543 | 0.02138 | 1.5735 | 0.0062984 | 44.7745 | 0.021533 | 0.052199 | 0.0011212 | 181.7359 | 0.039697 | 29.3478 | 0.015238 | 1.4769 | 0.0047467 | 44.5289 | 0.018213 | 0.053822 | 0.00092115 | 0.84311 | 0.023271 | 0.042195 | 0.0098967 | 0.004488 | 0.0041399 | 0.0056712 | 0.011487 | 0.0040949 | 0.00053857 | 1 | 0 | 1.0497 | 0.0010199 | 1 | 0 | 1.0085 | 0.00037598 | 1 | 0 | 1 | 0 | 2018-08-23 20:21 | 55.59 | 0.0019493 | 3.8857e-07 | 1.0004 | 3.0077 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01H | ok | 6 | 21.3525 | 0.066031 | 0.1117 | 0.00014161 | 75.986 | 98.1036 | 6.0193 | 0.14289 | 4e-16 | 0.16317 | 6.0274e-05 | 109.4069 | 0.041689 | 17.8862 | 0.018574 | 0.98008 | 0.0062247 | 27.0745 | 0.019455 | 0.029229 | 0.0010514 | 109.5165 | 0.035383 | 17.7679 | 0.014462 | 0.87402 | 0.0048271 | 26.8274 | 0.016066 | 0.03189 | 0.00085868 | 0.84636 | 0.022047 | 0.041549 | 0.0094901 | 0.0045082 | 0.0039301 | 0.0046598 | 0.010971 | 0.0040453 | 0.00051474 | 1 | 0 | 1.0497 | 0.0011156 | 1 | 0 | 1.0086 | 0.00035918 | 1 | 0 | 1 | 0 | 2018-08-23 20:34 | 55.599 | 0.0019493 | 3.8857e-07 | 1.0004 | 3.0083 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01I | ok | 7 | 21.2618 | 0.090084 | 0.11384 | 0.00021701 | 82.8282 | 98.0226 | 5.9935 | 0.090901 | 4e-16 | 0.16374 | 6.3006e-05 | 69.3616 | 0.037845 | 11.378 | 0.017313 | 0.63433 | 0.0064801 | 16.8916 | 0.019202 | 0.0185 | 0.00090452 | 69.5057 | 0.032254 | 11.2972 | 0.01413 | 0.53122 | 0.0054132 | 16.6171 | 0.016262 | 0.021541 | 0.00071538 | 0.85536 | 0.019796 | 0.039759 | 0.0089859 | 0.004564 | 0.0035621 | 0.0018607 | 0.010211 | 0.0039079 | 0.00048071 | 1 | 0 | 1.0492 | 0.0011639 | 1 | 0 | 1.0089 | 0.00033517 | 1 | 0 | 1 | 0 | 2018-08-23 21:10 | 55.6241 | 0.0019493 | 3.8857e-07 | 1.0004 | 3.0098 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
X | 01J | outlier | 8 | 20.9295 | 0.13441 | 0.11614 | 0.00030687 | 87.4602 | 96.2809 | 5.8993 | 0.061537 | 4e-16 | 0.1634 | 0.00012202 | 47.0533 | 0.034381 | 7.702 | 0.015639 | 0.45003 | 0.0059824 | 11.2067 | 0.018786 | 0.015117 | 0.00093145 | 47.1779 | 0.028332 | 7.6407 | 0.012323 | 0.34784 | 0.0048373 | 10.9557 | 0.015769 | 0.018274 | 0.00074641 | 0.85859 | 0.019476 | 0.039115 | 0.0090492 | 0.0045842 | 0.0035199 | 0.00085316 | 0.01021 | 0.0038584 | 0.00048133 | 1 | 0 | 1.0486 | 0.0010294 | 1 | 0 | 1.0091 | 0.00033561 | 1 | 0 | 1 | 0 | 2018-08-23 21:23 | 55.6331 | 0.0019493 | 3.8857e-07 | 1.0004 | 3.0103 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
X | 01K | outlier | 10 | 20.8549 | 0.18346 | 0.11967 | 0.00041653 | 91.0975 | 95.7906 | 5.8782 | 0.048323 | 4e-16 | 0.16315 | 0.00013864 | 37.0054 | 0.037146 | 6.0475 | 0.016376 | 0.32966 | 0.006302 | 8.5394 | 0.018517 | 0.012273 | 0.0010015 | 37.128 | 0.031651 | 5.9992 | 0.013186 | 0.2309 | 0.005221 | 8.2905 | 0.01535 | 0.01552 | 0.000821 | 0.86181 | 0.019442 | 0.038476 | 0.0092396 | 0.0046041 | 0.0035294 | -0.00014662 | 0.010355 | 0.0038094 | 0.00048883 | 1 | 0 | 1.0481 | 0.00096138 | 1 | 0 | 1.0092 | 0.00034091 | 1 | 0 | 1 | 0 | 2018-08-23 21:36 | 55.6421 | 0.0019493 | 3.8857e-07 | 1.0004 | 3.0108 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
pX | 01L | ok | 15 | 21.1948 | 0.084712 | 0.10975 | 0.00018677 | 98.7848 | 96.5049 | 5.9745 | 0.10213 | 4e-16 | 0.16171 | 0.00011447 | 78.9031 | 0.036987 | 12.7849 | 0.017819 | 0.74465 | 0.0061953 | 19.6757 | 0.018992 | 0.025496 | 0.00096069 | 79.05 | 0.031308 | 12.687 | 0.01418 | 0.63988 | 0.0050492 | 19.4039 | 0.015731 | 0.0281 | 0.00076656 | 0.86503 | 0.019694 | 0.037835 | 0.0095511 | 0.0046241 | 0.0035898 | -0.0011503 | 0.010642 | 0.0037601 | 0.00050296 | 1 | 0 | 1.0475 | 0.0009727 | 1 | 0 | 1.0093 | 0.00035089 | 1 | 0 | 1 | 0 | 2018-08-23 21:49 | 55.6511 | 0.0019493 | 3.8857e-07 | 1.0004 | 3.0114 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
pX | 01M | ok | 20 | 21.1862 | 0.48757 | 0.10663 | 0.0010676 | 100 | 94.5453 | 5.9721 | 0.016145 | 4e-16 | 0.15849 | 0.00018094 | 12.7264 | 0.034805 | 2.0213 | 0.016576 | 0.13077 | 0.0060263 | 3.2006 | 0.018178 | 0.0049814 | 0.00087261 | 12.8981 | 0.028329 | 2.0167 | 0.013028 | 0.025051 | 0.0047579 | 2.9506 | 0.014427 | 0.008469 | 0.00064887 | 0.86825 | 0.02022 | 0.037195 | 0.0099706 | 0.0046441 | 0.0036985 | -0.0021513 | 0.011058 | 0.003711 | 0.00052311 | 1 | 0 | 1.0469 | 0.0010609 | 1 | 0 | 1.0094 | 0.00036511 | 1 | 0 | 1 | 0 | 2018-08-23 22:01 | 55.66 | 0.0019493 | 3.8857e-07 | 1.0004 | 3.0119 | 5.463e-10 | 28.201 | FC-2 | sanidine | 0.007204 | 0.00046 | 0.01271 | 4e-05 | 0.00014 | 7e-06 | 0.0007593 | 7.9e-06 | 4e-05 | 2e-05 | 0.0002772 | 9.6e-07 | 250 | 0 | 1.96 | 0 | 0.227 | 0
| 01 | plateau | n=4/13 steps=F-I | 21.3541 | 0.024878 | 0.11286 | 5.9412e-05 | 56.1741 | MSWD=0.951
Integrated K/Ca ±1σ | [5 empty] | 0.11286 | 5.9412e-05 | SD
Plateau Age ±2σ |  |  |  | 21.3541 | 0.049756 | n=4/13 | MSWD=0.951 | steps F-I
Total Integrated Age ±2σ |  |  |  | 21.4025 | 0.090659 | [5 empty] | K2O wt. %=1.329
Isochron Age ±2σ |  |  |  | 21.3581 | 0.059 |  | MSWD=2.230 | (40Ar/36Ar)trapped=302.68±2.43
DataTables
Notes:
1Corrected: Isotopic intensities corrected for blank, baseline,radioactivity decay and detector intercalibration, not for interfering reactions.
2Intercepts: t-zero intercept corrected for detector baseline.
3Time interval (days) between end of irradiation and beginning of analysis.
X symbol preceding sample ID denotes analyses excluded from weighted-mean age calculations.
pX symbol preceding sample ID denotes analyses excluded plateau age calculations.
Notes and abbreviations: n/nt = number of analyses use to compute age/total analyses, MSWD = Mean Square of Weighted Deviates.
Sample preparation: Minerals were separated by crushing and sieving, followed by etching in 7% HF (sanidine only) or 7% HCl and rinsing in an ultrasonic bath, then concentrated using a Franz magnetic separator and/or density liquids, followed by hand picking.
Irradiation: Samples and Fish Canyon Tuff sanidine monitors in machined aluminum trays were irradiated in-vacuo at the Denver USGS Triga reactor.
Instrumentation and procedures: Samples heated using a defocused CO 2 laser for 30 seconds. Reactive gases removed during analysis by reaction with a SAES NP-10 getter. Analyses were performed using Thermo Argus VI and/or Helix mass spectrometers on line with automated all-metal extraction system.
J-factors were determined by CO 2 laser-fusion of 4 to 6 single crystals from multiple radial positions around the irradiation tray.
Age and error calculations: Mean age errors quoted as ±2σ, all other errors ±1σ. Calculations performed using Pychron software, version xxx. Weighted-mean and error are inverse-variance-weighted mean and error Taylor (1982), with error multiplied by root MSWD where MSWD>1.
Constants: Decay constants after Min et al. (2000), λ K total = 5.464e-10/a. Isotopic abundances after Steiger and Jäger (1977). Ages calculated relative to FC-2 Fish Canyon Tuff sanidine interlaboratory standard at 28.201 Ma after Kuiper et al.(2008).